## Sheet1
[6 empty] | Date of evaluation: | 2016-12-01
Follow-up evaluation:
[6 empty] | Date Issued to OEMS: | 2016-12-02
IEQ Dashboard
Location: | Jackson Elementary School |  |  | KEM Project Number: | K1100
Requested by: | Operations - F.O.E. |  |  | Year Built/Stories: | 1925/3 | Objective: Conduct IEQ walkthrough per Principal Kaplan's request
ULCS#: | 2510 - 1213 S. 12th St.
BE: | Rich Pettus (B.E.T.)
FAC: | Tom Sharer
Principal: | Lisa Kaplan
Location (Room/Area) | Findings | Quantity | Category | Corrective Action | Trade | Start Date | End Date
Decluttering | Classroom and closet clutter was observed in several areas including but not limited to; 301, 208, 207, 202, 110, 105, 101. | N/A | Point Source | A decluttering day should be considered. The Principal will provide a date to OEMS that would work for the staff. | OEMS/Principal
3rd Floor Boy's Room | Efflorescence and flaking paint were observed on the ceiling above the sinks. | 2 SF | Point Source | The flaking paint and efflorescence should be removed in accordance with lead safe work practices and the area repainted. | Painting
Room 306 | Water stained ceiling tiles were observed around the electrical and data boxes. | 2 EA | Mold/Moisture | The water stained ceiling tiles should be replaced. This location should be monitored and work orders issued if there is a reoccurrence. | Building Engineer
Room 306 | The window balancer on window #4 needs to be replaced. | 1 EA | Ventilation | Replace window balancer on window #4 | Carpentry
Room 306 | Water staining was observed on the closet ceiling. The staining appeared to be from an old leak, no signs of active water intrusion were observed. | 2 SF | Mold/Moisture | The water stained ceiling section should be painted and monitored. Work orders should be issued if there is a reoccurrence. | Building Engineer
Room 306 | The teacher reported this room is often overheated during the winter months. | 1 EA | Ventilation | The radiator control valves should be adjusted as requested by the teacher. | Building Engineer
Room 307 small closet | Efflorescence and flaking paint were observed on the ceiling at the drain line. | 1 SF | Point Source | The flaking paint and efflorescence should be removed in accordance with lead safe work practices and the area repainted. | Painting
Room 307 | A water stained ceiling tile was observed above window #3. | 1 EA | Mold/Moisture | The water stained ceiling tile should be replaced and monitored. Work orders should be issued if there is a reoccurrence. | Building Engineer
Room 305 Closet | Efflorescence and flaking paint were observed above the window. | 2 SF | Point Source | The flaking paint and efflorescence should be removed in accordance with lead safe work practices and the area repainted. | Painting
Room 305 | A section of flaking paint was observed below the window. | 1 SF | Point Source | The flaking paint should be removed in accordance with lead safe work practices and the area repainted. | Painting
Room 304 A | A water stained ceiling tile was observed. | 1 EA | Mold/Moisture | The water stained ceiling tile should be replaced and monitored. Work orders should be issued if there is a reoccurrence. | Building Engineer
Room 304 A | Flaking paint was observed above the window. | 1 SF | Point Source | The flaking paint should be removed in accordance with lead safe work practices and the area repainted. | Painting
Room 304 A | Paint and plaster debris were observed on the window sill. | < 1SF | Point Source | The paint and plaster debris should be removed from the window sill in accordance with lead safe work practices. | Building Engineer
Room 304 A Closet | Flaking paint was observed on the walls in the closet. | 20 SF | Point Source | The flaking paint should be removed in accordance with lead safe work practices and the area repainted. | Painting
Room 304 | Flaking paint was observed on the wall below window #5. | 1 SF | Point Source | The flaking paint should be removed in accordance with lead safe work practices and the area repainted. | Painting
Room 303 | A small hole was observed in the baseboard at the back of the room. | < 1SF | Point Source | The hole in the baseboard should be repaired. | Carpentry
Room 303 | A water stained and dislodged ceiling tile was observed above the teacher's desk. | 1 EA | Mold/Moisture | The water stained ceiling tile should be replaced and monitored. Work orders should be issued if there is a reoccurrence. | Building Engineer
Room 303 | The teacher indicated this room is always cold during the heating season. | 1 EA | Ventilation | The radiator control valves should be adjusted as requested by the teacher. | Building Engineer
3rd Floor Girl's Room | Flaking paint and efflorescence was observed on the ceiling. | 8 SF | Point Source | The flaking paint and efflorescence should be removed in accordance with lead safe work practices and the area repainted. | Painting
Room 301 | The window balancer on window #5 needs to be replaced. | 1 EA | Ventilation | Replace window balancer on window #4 | Carpentry
Room 301 Closet | Flaking paint was observed on the ceiling. | 1 SF | Point Source | The flaking paint should be removed in accordance with lead safe work practices and the area repainted. | Painting
3rd Floor Book Closet | Efflorescence and flaking paint were observed in this closet. | 20 SF | Point Source | The flaking paint and efflorescence should be removed in accordance with lead safe work practices and the area repainted. | Painting
Hallway outside Room 303 | A water stained ceiling tile was observed. | 1 EA | Mold/Moisture | The water stained ceiling tile should be replaced and monitored. Work orders should be issued if there is a reoccurrence. | Building Engineer
IMC | Water stained ceiling tiles were observed. | 4 EA | Mold/Moisture | The water stained ceiling tiles should be replaced. This location should be monitored and work orders issued if there is a reoccurrence. | Building Engineer
IMC | Suspect mold growth was observed on the window shade at window #2. | 1 EA | Mold/Moisture | The window shade at window #2 should be cleaned or discarded. | Building Engineer
Room 208 Right Closet | Flaking paint was observed on the closet ceiling. | 2 SF | Point Source | The flaking paint should be removed in accordance with lead safe work practices and the area repainted. | Painting
Room 208 Left Closet | Flaking paint was observed on the closet wall and ceiling. | 4 SF | Point Source | The flaking paint should be removed in accordance with lead safe work practices and the area repainted. | Painting
2nd Floor Boy's Room | Efflorescence and flaking paint were observed on the ceiling. | 3 SF | Point Source | The flaking paint and efflorescence should be removed in accordance with lead safe work practices and the area repainted. | Painting
Room 207 Closet | Flaking paint was observed above window #2. | 1 SF | Point Source | The flaking paint should be removed in accordance with lead safe work practices and the area repainted. | Painting
Room 207 Closet | The bench resting on cinderblocks is not secured to the wall and is a potential safety concern. | 1 EA | Safety | The bench and cinderblocks should be removed from this closet. | Building Engineer
Room 207 Closet | The teacher reported this closet has no heat. Stored materials were blocking access to the radiator for evaluation. | 1 EA | Ventilation | The radiator should be evaluated and heat restored or work orders issued as needed for repair. | Building Engineer
Room 206 | Sections of delaminated plaster were observed on the wall adjacent to the hallway. | 2 SF | Safety | The delaminated sections of wall plaster should be removed and repaired. | Painting
Room 205 Closet | Efflorescence and flaking paint were observed on wall and ceiling. | 40 SF | Point Source | The flaking paint and efflorescence should be removed in accordance with lead safe work practices and the area repainted. | Painting
Room 205 Closet | Paint and plaster debris were observed on the window sill and floor. | 2 SF | Point Source | The paint and plaster debris should be removed from the window sill in accordance with lead safe work practices. | Building Engineer
Room 209/210 Computer Lab | A missing ceiling tile was observed around the network wiring and conduit. | 1 EA | Point Source | Replace the missing ceiling tiles. | Carpentry
Room 204 A | A section of flaking paint was observed on the wall. | 12 SF | Point Source | The flaking paint should be removed in accordance with lead safe work practices and the area repainted. | Painting
Room 211 | Missing ceiling tiles were observed above windows #2 and #6. | 2 EA | Point Source | Replace the missing ceiling tiles. | Building Engineer
Room 204 | A water stained ceiling tile was observed in the corner of the room around several pipe risers. | 1 EA | Point Source | Replace the missing ceiling tile. | Carpentry
Room 204 | Water stained ceiling tiles were observed above windows #2 and #4. | 2 EA | Point Source | The water stained ceiling tiles should be replaced and monitored. Work orders should be issued if there is a reoccurrence. | Building Engineer
Room 204 Closet | A section of delaminated wall plaster was observed. | 1 SF | Point Source | The delaminated section of wall plaster should be removed and repaired. | Painting
Room 203 | The radiator control valve was knocked-off the radiator. | 1 EA | Ventilation | The radiator control valve should be replaced. | Steamfitting
Room 203 | A water stained ceiling tile was observed in the corner of the room by window #1. | 1 EA | Mold/Moisture | The water stained ceiling tile should be replaced and monitored. Work orders should be issued if there is a reoccurrence. | Building Engineer
Room 203 | Missing ceiling tiles were observed above windows #1, #4, and #5. | 3 EA | Point Source | Replace the missing ceiling tiles. | Building Engineer
Room 203 Closet | Efflorescence and flaking paint was observed in this closet. | 30 SF | Point Source | The flaking paint and efflorescence should be removed in accordance with lead safe work practices and the area repainted. | Painting
Room 203 Closet | The asbestos containing pipe riser was not damaged, however, it should be removed to allow for paint and plaster repairs. | 12 LF | Point Source | An asbestos Design Data Collection (DDC) package was issued on 12/2/16. | Environmental
2nd Floor Girl's Room | Efflorescence and flaking paint were observed on the ceiling. | 1 SF | Point Source | The flaking paint and efflorescence should be removed in accordance with lead safe work practices and the area repainted. | Painting
2nd Floor Men's Room | Efflorescence and flaking paint were observed on the wall left of the window. | 1 SF | Point Source | The flaking paint and efflorescence should be removed in accordance with lead safe work practices and the area repainted. | Painting
Room 101 Closet behind Office (Pre-K) | Flaking paint was observed on the wall. | 10 SF | Point Source | The flaking paint should be removed and repainted in accordance with the Renovation, Repair and Painting Rule. | Painting
Room 101 (Pre-K) | Flaking paint was observed on the wall below window #3. | 2 SF | Point Source | The flaking paint should be removed and repainted in accordance with the Renovation, Repair and Painting Rule. | Painting
1st Floor Girl's Room | A section of moisture damaged plaster ceiling was observed in the corner around the waste line. | 1 SF | Point Source | The moisture damaged paint and plaster should be repaired in accordance with lead safe work practices. | Painting
Room 102 | A water stained ceiling tile was observed above window #4. | 1 EA | Mold/Moisture | The water stained ceiling tile should be replaced and monitored. Work orders should be issued if there is a reoccurrence. | Building Engineer
Room 102 Closet | A section of flaking paint was observed on the ceiling. | 1 SF | Point Source | The flaking paint and efflorescence should be removed in accordance with lead safe work practices and the area repainted. | Painting
Room 102 Closet | The asbestos containing pipe riser was not damaged, however, it should be removed to allow for paint and plaster repairs. | 12 LF | Point Source | An asbestos Design Data Collection (DDC) package was issued on 12/2/16. | Environmental
Room 104 Closet | A section of flaking paint was observed on the ceiling. | 5 SF | Point Source | The flaking paint and efflorescence should be removed in accordance with lead safe work practices and the area repainted. | Painting
Room 104 Closet | Debris was observed on the window sill. | < 1 SF | Point Source | The debris should be removed from the window sill. | Building Engineer
Room 110 | Missing ceiling tiles were noted above window #2, #3, #4, and #5. | 4 EA | Point Source | Replace the missing ceiling tiles. | Building Engineer
Room 109 Kindergarten | A section of moisture damaged paint was observed in the back corner of the room next to the wall mounted radiator. | 1 SF | Point Source | The flaking paint should be removed and repainted in accordance with the Renovation, Repair and Painting Rule. | Painting
Room 109 Kindergarten | The teacher reported this room is often overheated during the winter months. No control valves were observed on the wall mounted radiators located at the back of the room. | 2 EA | Ventilation | Install control valves on the wall mounted radiators. | Steamfitting
Room 108 | The teacher reported this room is often overheated during the winter months. | 1 EA | Ventilation | The radiator control valves should be adjusted as requested by the teacher. | Building Engineer
Room 106 | Water stained ceiling tiles were observed around the perimeter of the room by the clock. | 8 EA | Mold/Moisture | The water stained ceiling tiles should be replaced and monitored. Work orders should be issued if there is a reoccurrence. | Building Engineer
Room 106 Closet | Flaking paint was observed on the wall of the closet. | 15 SF | Point Source | The flaking paint should be removed and repainted in accordance with the Renovation, Repair and Painting Rule. | Painting
1st Floor Boy's Room | Flaking paint and efflorescence were observed on the wall and ceiling. | 35 SF | Point Source | The flaking paint and efflorescence should be removed and repainted in accordance with the Renovation, Repair and Painting Rule. | Painting
Basement Boy's Side Custodial Closet | Flaking paint and efflorescence were observed on the wall and ceiling. | 150 SF | Point Source | The flaking paint and efflorescence should be removed and repainted in accordance with the Renovation, Repair and Painting Rule. | Painting
Basement Boy's Side Stairwell to Gym | Flaking paint and Efflorescence were observed on the stairwell wall leading to the gymnasium. | 30 SF | Point Source | The flaking paint and efflorescence should be removed and repainted in accordance with the Renovation, Repair and Painting Rule. | Painting
Basement Boy's Side Stairwell Closet | A strong musty odor was detectable and water was dripping from the ceiling. No signs of visible mold growth were observed. | N/A | Mold/Moisture | Further evaluation of this area is needed to determine the root cause and necessary repairs. | Plumbing/Masonry/OEMS
Basement Boy's Side Stairwell Closet | 40 - 5 gallon buckets and 30 - 1 gallon cans of paint were being stored in this closet. | N/A | Point Source | Paints no longer needed should be discarded and the remaining should be relocated to a dry facilities storage area. | Building Engineer
Cafeteria | A section of delaminated plaster ceiling was observed to the lift of the stage. | 3 SF | Point Source | The damaged section of plaster ceiling should be repaired in accordance with lead safe work practices. | Painting
Basement Girl's Side Stairwell Closet | Water was leaking from the ceiling and standing water was observed on the floor. No signs of mold growth were observed. | N/A | Mold/Moisture | Further evaluation of this area is needed to determine the root cause and necessary repairs. | Plumbing/Masonry/OEMS
Basement Girl's Side Stairwell Closet | Flaking paint and efflorescence were observed on the wall. | 10 SF | Point Source | The flaking paint and efflorescence should be removed and repainted in accordance with the Renovation, Repair and Painting Rule. | Painting
Music Room | A delaminated ceiling tile was observed along 12th Street and in the center of the room. | 2 EA | Safety | The delaminated ceiling should be secured to the ceiling. | Carpentry
Music Room | Efflorescence and flaking paint was observed in the corner of the below the bathroom piping along Federal Street. | 2 SF | Point Source | The flaking paint and efflorescence should be removed and repainted in accordance with the Renovation, Repair and Painting Rule. | Painting
Music Room | Paint and plaster debris was observed on the floor in the corner of the room along Federal Street. | 1 SF | Point Source | The paint and plaster debris should be removed from the window sill in accordance with lead safe work practices. | Building Engineer
Music Room Office | Efflorescence and flaking paint was observed on the ceiling adjacent to Federal Street. | 2 SF | Point Source | The flaking paint and efflorescence should be removed and repainted in accordance with the Renovation, Repair and Painting Rule. | Painting
Basement Girl's Room | The left sink was leaking from the trap. | 1 EA | Mold/Moisture | Repair the leaking trap on bathroom sink. | Plumbing
Basement Girl's Room | Toilet #7 was leaking from the supply side. | 1 EA | Mold/Moisture | Repair the leaking toilet. | Plumbing